	[image: image1.jpg]



	evsjv‡`k cvwb Dbœqb †evW©
	Project Management Unit

Coastal Embankment Improvement Project

House No.15, 4th Floor, Road No.24(CWN)  Gulshan-2, Dhaka-1212




Memo No. PD/CEIP-1/G-6/119


       Dated  23-04-2014
Addendum No.02
Following amendments are made in the Tender Document  for Supply of Office Equipment : 1) Multimedia Projector ,  2) Air cooler, 3) PABX Intercom System , 4) Photocopier, 5) Fax , 6) Scanner, 7) Spiral Binding Machine and 8)  Plotter (36” Size) under Coastal Embankment Improvement Project, Phase-1,Tender No.CEIP/T-03/2013-2014(Package No.CEIP-1/G-6) as invited by the Project Director, PMU, CEIP, Dhaka vide his memo no PD/CEIP-1/G-6/65 Date: 01-04-2014:


	Reference to Tender Document Section, Clause/item and Page No.
	Existing Provision

	Amended Provision


	ITT 26.1(b)
(Page No.39)
	Manufacturer’s authorization is: Not required 

	Manufacturer’s OR its Bangladesh Distributor’s authorization is: required for following Items:

i) Multimedia Projector (Item No.01 of Section 6: Schedule of Requirement )

Split Type Air cooler (Item No.02 of Section 6: Schedule of Requirement )

	ITT 36.1

Deadline of Tender Submission 

(Page No. 39)


	The deadline for submission of Tenders is 1400 hours  on 30, April, 2014
	The deadline for submission of Tenders is 1400 hours  on 12, May, 2014

	ITT 42.1

Opening of Tender

(Page No. 39)


	The Tender opening shall take place at:

Address: House No.15, 4th Floor, Road No.24(CWN)  Gulshan-2, Dhaka-1212
Time: 1430 hours

Date: 30 , April ,2014
	The Tender opening shall take place at:

Address: House No.15, 4th Floor, Road No.24(CWN)  Gulshan-2, Dhaka-1212
Time: 1430 hours

Date: 12 , May ,2014

	Section 7: Technical Specification 

Item No.1

MULTIMEDIA PROJECTOR (Page No.84)

	Screen Coverage= 40” to 300”

Audio Speaker = 10 W Monaural


	Screen Coverage/ Projection Distance =40” to 300”

Audio Speaker = Max. 10 W Monaural



	Section 7: Technical Specification 

Item No.2. 

1.5 Ton Capacity Split Type Air cooler (Page No.85) 
	Noise Level: Indoor (Hi/Mid/Lo)

Maxm   42/40/37 dB 

Outdoor: 53 dB
EER(Energy Efficiency Ratio) :
Minm.    3.0
Input Current :  Maxm  9 amps

Warranty: Minimum of 1(one) Year 

It shall also include free after sale services as and when required by the owner
	Noise Level: Indoor : Maxm  70 dB
Outdoor: Maxm 70 dB

EER(Energy Efficiency Ratio) 

Minm.    2.5

Input Current :  Maxm  10.5 amps

Warranty: Minimum of 1(one) Year 

It shall also include free after sale services including replacement of spares parts as and when required by the owner


All terms and conditions of the Tender Document will remain unchanged. 

This Addendum shall form an integral part of the Tender Document in pursuant to the ITT 11.2.
(Md. Mahfuzur Rahman)

Project Director  (Additional Charge)
PMU, Coastal Embankment Improvement Project, Phase-1(CEIP-1) 

BWDB, Dhaka
Memo No. PD/CEIP-1/G-6/119


Dated  23-04-2014
Copy for favour of kind information/information to:

	

	1. The Director General, C.P.T.U, Planning Commission, Block-12 (2nd floor) , Sher-E-Bangla Nagar, Dhaka

	2. The Additional Director General, Planning, BWDB, , Dhaka-1000. 

	3. The Additional Director General Western Region, BWDB, Dhaka-1000

	4. The Chief Planning , BWDB, , Dhaka-1000.

	5. The Chief Monitoring, BWDB, Dhaka-1000.                                                     

	6. The Deputy Commissioner, Jhonson Road, Kotwali, Dhaka

	7. The Deputy Police Commissioner, Ramna Circle, Dhaka.

	8. Mr. Mark Forni, Task Team Leader, CEIP-1, The World Bank, Local Office: E-32 Agargoan, Sher-e-Bangla Nagar, Dhaka-1207 

	10.System Analyst, Computer Section, Chief Monitoring Office, Dhaka. He is requested to take all necessary actions to publish the Addendum in website of BWBD and C.P.T.U (Soft Copy Sent in pen dive)

	11. Mr. A.K.M.Bodruddoza, Procurement Specialist, CEIP-1, BWDB, Dhaka

	12. NOTICE BOARD.

	13. Mr./ M/S


(Md. Mahfuzur Rahman)

Project Director  (Additional Charge)
PMU, Coastal Embankment Improvement Project, Phase-1(CEIP-1) 

BWDB, Dhaka
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