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	Project Management Office

ECRRP (BWDB-Part)

Elite House (8th Floor), 54-Motijheel C/A,
 Dhaka-1000,Bangladesh


Bangladesh Water Development Board

	Memo No. : PD/ECRRP(BWDB Part)/BID/W-19/354
	Dated : 07-05-2014


Amendment No 1 to Bidding Documents
Notice No 3/2013-2014
The following are the amendments to the Bidding Documents for Package No ECRRP/BWDB/W-19 under Emergency 2007 Cyclone Recovery and Restoration Project (ECRRP-BWDB)  ,issued by the Project Director, ECRRP-BWDB ,Dhaka vide memo no. PD/ECRRP (BWDB Part)/BID/280  Dated 13-04-2014
	Sl No
	Reference to Contract Document Section, Page and Clause/Items
	Existing Provision/ Provision requiring Amendment
	Amended Provision/
Amendment Made

	1
	Volume-1 , 
Section X (Contract Data) , Page 243 , Rules of Arbitration (Sub-Clause 20.6 (a)
	The  International Chamber of Commerce (ICC) - Singapore
	The International Chamber of Commerce (ICC)

	2
	Volume-1 , 
Section IV (Bidding Form) , Page 44 to 49 and Section X, Page 247
	There are anomalies in 2 (two) items in Table appearing in Paper 247 vis-à-vis Tables in pages 44 to 49. 
	Table appearing in page 247 is corrected to match to tables in pages 44 to 49. Corrected Table attached.

	3
	Volume – 1 , 

(a) Section – A of BoQ ,  Bill no 3.14, 
(b) Section B of BoQ, 

     Bill no 3.20 and 

(c) Section C of BoQ , Bill no 3.22
	Comprehensive strength     9 N/mm2

	Comprehensive strength will be 16 N/mm2


	4
	Volume-1
Section IV, Bidding Form

Page 81
	In Bill No 6 , Bill No. and amount should be corrected
	( a )  Bill No. should be read as 6
(b) Amount should be read as 

Tk. 2, 45,62,401.66

	5
	Volume-2: Technical Specification

Clause: 5.2
Materials,

5.2.1
Cement

5.2.1.1
Quality and Type
	The cement to be used in the Works shall be ordinary Portland cement complying in all respects with BS 12. 
	The cement to be used in the Works shall be Portland Composite cement complying in all respects with BS 12.


This amendment No 1 is issued in pursuance of the ITB Clause no.  8 and will be binding
 up on the contractors who have obtained the Bidding documents from the Employer.  All other terms and conditions will remain unchanged. 
Sarder Sirazul Hoque
Project Director 

ECRRP (BWDB Part)

Elite House (8th floor)

54, Motijheel C/A, Dhaka 
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